## Sheet1
Analysis methods for slurry analyzed at AU biogas lab
DM and VS | Gravimetrically by heating at 105C and calcination at 550C (APHA, 2017)
Total N | Low-field nuclear magnetic resonance spectrometry (jensen et al., 2021)
TAN | Photometrically with a commercial kit (Spectroquant Test kit No. 1.00683.0001, Merck KgaA, Darmstadt, Germany)
pH | Knivk Portavo 902 pH meter, measured both in the field and in the lab
VFA | GC (HP 6850 Series, Agilent Technologies, Santa Clara, CA, USA) with flame ionization detector and HP-Innowax column.
Notes: | NMR was also used to measure TAN (TAN.Tveskaeg), but these values cannot be trusted!
APHA. (2017). Standard methods for the examination of water and wastewater. (23rd ed.). American Public Health Association.
Jensen, O. N., Beyer, M., Sorensen, M. K., Kreimeyer, M., & Nielsen, N. C. (2021). Fast and Accurate Quantification of Nitrogen and Phosphorus Constituents in Animal Slurries Using NMR Sensor Technology. ACS Omega, 6(27), 17335-17341. https://doi.org/10.1021/acsomega.1c01441